County of Los Angeles

Department of Public Works

Building and Safety Division

Lomita District Office

24320 South Narbonne Avenue

Lomita, CA 90717

(310)534-3760

Notice

Job Address: 27538 Eastvale

1, Final grading cert.

2, State approval for elevator.

3, Final fire approval.

4, Put in drive way

5, Post Address

6, Must have working kitchen

7, Bathroom must ve working and floors must be installed.

8, Hand rails @ all stairs

9, drainage for all property 2% away from Building 1% Flow

10, Solid Core Doors with cynderblocks

11, Electrical panel labled and grounded

12, All Glass @18” @ Floor must Be Tempered.

4/19/2016 Chris/Wayne