4032 Rousseau Ln, Palos Verdes Peninsula

Disclosures:

Property has a 35 year old  “Cal Shake fiber, low density cement roof”.  As needed, tiles have been repaired over the years.  Roof shows no signs of leaks.  Cal Shake has gone out of business so replacement tiles could be difficult to obtain.  Neither sellers nor seller’s agent know if replacement tiles are available.  Buyers should investigate the details of a Cal Shake roof.

Termite Inspection was performed on October 15, 2025 by Andys Termite.  Seller has used Andys for maintenance for many years.  Andys advised that tenting with a Cal Shake roof cannot be completed by their company as they cannot ensure tiles will not be broken nor can they replace the tiles.  Andys recommendation includes spot treating and removal of any dry rot.  Total estimate for Termite work including dry rot repair and spot treating is: $4010.00.  Report available.