Cornerstone Inspection – Property Inspection Report

Items Repaired

Exterior

- Page 6 Item 1 – removed windbreak screen completely (1.2)

Fireplace

- Page 17 Item 1 – installed a “C” clamp for damper stop (1.8)

Plumbing Components

- Page 19 Item 4 – Paradise Plumbing capped shut off valve (4.3)

Interior Living Space

- Page 27 Item 1 – Removed security lock (1.3)

- Page 29 Item 5 – Replace outlet which was damaged (5.2)

- Page 29 Item 5 – Ordered two new tempered glass to replace two bottom glass windows (will take two weeks (11-21ish) to come in, buyer will need to contract an installer to replace) (5.3)

Bedrooms

- Page 32 Item 4 – Installed a smoke alarm (4.3)

Bathrooms

- Page 35 Item 2 – Replaced both toilets with low flow toilets per SLO City requirements (2.12)

Laundry

- Page 36 Item 1 – Capped gas valve (1.9)

Garage

- Page 39 Item 1 – Removed foot operated door stop (1.15)