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This is to certify that Essential Pump and Well service performed a well test at the property address stated as: 4286 Hwy 41 East, Atascadero CA.
	
The test was performed by Rocky Greene on the date of 5-8-26

	Datum point:
	Well Head, 6” casing

	Static level:
	70’ 

	Pump setting:
	160’

	Well depth:
	175

	Horsepower:
	2 hp

	Flow method:
	Bucket test

	Length of test:
	4 hour

	
	




The test results are as follows:
	Time:
	Flow Rate (gpm):
	Water Level (ft):
	Notes:

	     11:00
	42.8
	70
	Clear, no odor and clean

	11:05
	42.8
	74
	

	11:10
	42.8
	76
	

	11:15
	42.8
	77
	

	11:20
	42.8
	80
	

	11:25
	42.7
	85
	

	11:30
	42.7
	85
	

	11:45
	42.7
	85
	

	12:00pm
	42.7
	85
	

	12:15
	42.7
	85
	

	12:30
	42.7
	85
	

	12:45
	42.6
	85
	

	1:00
	42.6
	85
	

	1:30
	42.6
	85
	

	      2:00
	42.6
	85
	

	2:30
	42.6
	85
	

	3:00
	42.6
	85
	End test

	3:05
	         0
	           77
	Start recovery test

	
	
	
	

	       3:10
	0
	70
	

	3:15
	0
	70
	End recovery test
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