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PRELIMINARY INSPECTION REPORT
To notify you of the condition of the septic system and the repairs needed, recommended contractors contact info is included.

NAME:  Dora Maxey
PROPERTY ADDRESS: 23808 Leisure Dr., Twain Harte
DATE: July 28, 2026                 

SEPTIC TANK:  1000-gallon, 2-lid concrete septic tank; pumped on July 22, 2026. The tank was found to be in good working condition at the time of inspection.  The lids are 2’ deep in the driveway the dirt is extremely hard recommend risers. 

SEWER LINE:  The sewer line was flush tested; the flush came in but the down spout needs repair/replacement and resealed prior to passing.

LEACH FIELD: The leach field was water tested and no runback in the tank, no perc up in the field on the inspection date. 
The septic system does not pass currently. We recommend the following for the repairs:

Otto B Plumbing * Kade Barajas * 209-559-8890
CMR Plumbing and Drain * Chris Rangle * 209-768-9151
Dave’s Plumbing * 209-984-3498
When repaired send photos to our office 209-533-1950 for review. 

Respectfully Submitted,
Nick Marlowe      
Mother Lode Septic Inc. 

Tuolumne County Permit #PT0001684
NAWT/COWA Wastewater Transporters Inspector Cert. ID #114631ITC; OM1; OM11 Operations & Maintenance 1 & 11. 38+ years of pump/inspect experience.
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